PAPER TEMPLATE: OPTIMISATION OF SUSTAINABLE ENERGY HARVESTING IN HYBRID WIND-SOLAR SYSTEMS USING AI-DRIVEN PREDICTIVE MAINTENANCE MODELS

H. C. O. Unegbu1

# Abstract

Hybrid wind-solar systems have become a key solution for sustainable energy generation; however, their inherent complexity and fluctuating environmental conditions pose significant challenges in terms of operational reliability and maintenance optimisation. This study proposes an AI-driven predictive maintenance model integrated with a multi-objective optimisation framework to enhance the efficiency and economic viability of hybrid wind- solar systems. The predictive maintenance model employs Deep Neural Networks (DNN) to predict equipment failures with high accuracy, enabling proactive maintenance scheduling and minimising unplanned downtimes. In parallel, a multi-objective optimisation algorithm using Genetic Algorithms (GA) and Particle Swarm Optimisation (PSO) is implemented to achieve optimal trade-offs between maximising energy production and minimising maintenance costs. The integrated approach achieved a 25% reduction in system downtime, a 30% decrease in maintenance costs, and a 15% increase in overall energy production compared to traditional strategies. The results indicate  that  the  proposed framework significantly improves system reliability, optimises energy harvesting, and supports the economic sustainability of hybrid renewable energy projects. This study provides a comprehensive solution for addressing the complexities of hybrid systems, offering valuable insights for practitioners and policymakers seeking to implement advanced AI-driven maintenance and optimisation strategies in renewable energy systems.

Received:

Revised:

Accepted:

1,2Department of Mechanical Engineering, Ahmadu Bello University, Zaria, Nigeria.

*Corresponding author:

DOI:

Keywords:

AI-driven predictive maintenance, Deep neural

networks, Energy efficiency, Hybrid wind- solar systems, Multi-objective optimisation, Renewable energy optimisation

# 1.0   INTRODUCTION

The demand for sustainable and reliable  energy  systems has accelerated the global adoption of renewable energy technologies over the past decade (International Energy Agency, 2020). Among the various renewable options, hybrid wind-solar systems have emerged as a highly efficient solution, offering the potential to balance the intermittent nature of both wind and solar power. The integration of these two sources creates a more stable and reliable energy output, leveraging the complementary nature of wind and solar resources, which are typically available at different times and seasons (Sinha & Chandel, 2015). The hybrid configuration not only optimises resource utilisation but also helps reduce reliance on fossil fuels, aligning with global energy transition goals (Lund et al., 2016; International Renewable Energy Agency, 2021). As a result, hybrid wind-solar systems have been widely deployed for both on-grid and off-grid applications, including rural electrification, microgrids, and utility-scale power generation (Barua et al., 2021).

However, the widespread deployment of hybrid systems has highlighted several operational challenges. These challenges include the complexity of integrating multiple energy sources, variability in power generation due to fluctuating environmental conditions, and the high maintenance requirements of hybrid systems (Hassan et al., 2023). Variability in wind speed and solar irradiance can lead to unpredictable energy production, making it difficult to maintain a consistent power supply (Conte

et al., 2022). Moreover, hybrid systems are often subject to harsh environmental conditions that accelerate component degradation, increasing the likelihood of unexpected failures and unplanned downtime (Alqahtani et al., 2024). Traditional maintenance strategies, such as reactive or scheduled maintenance, are not equipped to address these issues effectively due to their limited ability to predict failures in advance (Taherdoost, 2024). These shortcomings often lead to increased operational risks and suboptimal energy production, as highlighted in recent studies (Ghandehariun et al., 2023).

There is a growing urgency to develop advanced maintenance strategies for hybrid wind-solar systems due to the increasing scale of their deployment and their critical role in ensuring energy stability. As supported by prior literature, the potential economic and environmental benefits of hybrid systems can be significantly undermined by inefficient maintenance practices and  unplanned  downtimes  (Bennag et al., 2024). Additionally, hybrid systems are often located in remote or offshore areas, making maintenance activities logistically challenging and costly (Hassan et al., 2023). The need for real-time monitoring and predictive maintenance capabilities is therefore paramount to enhancing the reliability and performance of these systems (Sharma et al., 2022). Several studies suggest that the integration of artificial intelligence (AI) into the maintenance of hybrid systems offers a promising solution by enabling advanced data analysis, early

fault detection, and optimisation of maintenance schedules (Shin et al., 2021). This study builds upon that foundation by proposing an AI-based predictive maintenance model tailored for hybrid systems. AI-driven predictive maintenance can minimise maintenance costs, reduce system downtime, and extend the lifespan of critical components, thereby ensuring the economic and environmental sustainability of hybrid systems (Ghandehariun et al., 2023).

In response to  these  challenges,  the  primary  objective of this research is to develop a robust AI-driven predictive maintenance model specifically designed for hybrid wind-solar systems. Unlike prior approaches, our model is designed to simultaneously address issues in energy harvesting optimisation and proactive maintenance through an integrated framework. The study focuses on three key objectives: firstly, to develop a predictive maintenance model using advanced machine learning algorithms, including Support Vector Machines, Decision Trees, and Deep Learning models. This model will be used to analyse large volumes of operational data, detect early signs of equipment failure, and predict maintenance needs under varying environmental conditions. Secondly, the research seeks to implement multi-objective optimisation techniques such as Genetic Algorithms and Particle Swarm Optimisation to balance energy harvesting efficiency and maintenance costs. This involves the development of optimisation algorithms that consider both technical and economic factors to maximise overall system performance. Finally, the study aims to evaluate the proposed model’s effectiveness using simulated and real-world datasets. The evaluation will focus on assessing the model’s ability to improve system reliability, reduce maintenance costs, and optimise energy harvesting efficiency. This contribution offers a novel approach that bridges gaps in existing literature and practice. The outcomes of this research will provide valuable insights into the integration of AI technologies in hybrid energy systems and establish a framework for enhancing the reliability and sustainability of these systems through predictive maintenance.

# MATERIALS AND METHODS

The methodological approach developed in this study aims to design an AI-driven predictive maintenance model tailored for hybrid wind-solar systems. The methodology integrates advanced machine learning techniques and multi-objective optimisation algorithms to address the challenges associated with system reliability and maintenance costs. The methodology was applied in a hybrid wind-solar testbed, enabling data collection and model evaluation under varying environmental conditions. The key stages of the methodology include system configuration and data acquisition, machine learning model development, predictive maintenance model architecture, multi- objective optimisation, and model evaluation and validation.

# System Configuration and Data Acquisition

This study involved the physical construction and operation of a dedicated hybrid wind-solar testbed, which served as the primary data source for developing and validating the proposed AI-driven predictive maintenance model. The testbed was built specifically for this research and included a 5 kW photovoltaic

(PV) array, a 3 kW horizontal-axis wind turbine, a 10 kWh battery energy storage system, and a hybrid inverter for energy management. The configuration  was  intentionally  designed to replicate real-world hybrid system conditions in terms of environmental variability and operational behaviour.

To facilitate detailed monitoring, the testbed was instrumented with high-precision sensors that directly measured key operational parameters. These included wind speed, wind turbine power output, solar irradiance, PV power output, battery state of charge (SoC), and inverter efficiency. All sensor placement, calibration, and data acquisition protocols were designed in-house, and no performance measurements were sourced from prior studies. The system recorded real-time data at one-minute intervals using a custom Internet of Things (IoT)- enabled data logger over an uninterrupted 12-month period. This extended duration was chosen specifically to capture the seasonal and weather-driven variability necessary for robust predictive modelling.

In addition to real-time operational data, the testbed also generated internal maintenance logs and failure reports throughout the 18 months. These records were automatically logged through the system controller and manually validated at regular intervals. They were integrated into the training dataset to enhance the predictive accuracy of failure detection algorithms. It is important to clarify that these historical maintenance and failure data were obtained solely from the constructed testbed and were not extracted from published studies.

While previous works (e.g., Alqahtani et al., 2024; Shin et al., 2021) are cited in this section, they are referenced only to contextualise the types of parameters commonly monitored in similar systems — not as data sources. All core datasets used for model training and validation in this study were independently measured and generated by our testbed. To ensure transparency and reproducibility, a sample of the operational and failure data used in this study will be included as supplementary material provided in Appendix 1A & B (Enweremadu, 2025, Sharma et al., 2022). This sample will reflect the structure, parameters, and format of the full dataset used to train the predictive maintenance models.

# Machine Learning Model Development

To develop a robust predictive maintenance model for hybrid wind-solar systems,  this  study  implemented  and  evaluated multiple machine learning algorithms. The models selected for comparison included Decision Trees, Random Forest, Support Vector Machines (SVM), Artificial Neural Networks (ANN), and Deep Neural Networks (DNN). These algorithms were chosen due to their proven effectiveness in classification and fault prediction tasks in energy systems, as noted in recent literature (Conte et al., 2022; Sharma et al., 2022).

The dataset was partitioned using a 70/30  split,  with 70% allocated for training and 30% for testing. To ensure the reliability and generalisability of model performance, a 10-fold cross-validation technique was applied during training. All models were implemented in Python using Scikit-learn and TensorFlow libraries, with hyperparameters tuned through grid search optimisation. For model training, input features included turbine rotational speed, PV module temperature, battery SoC,

inverter efficiency, and environmental variables such as wind speed and solar irradiance. Feature selection was guided by Principal Component Analysis (PCA) and correlation analysis, as described in Section 2.1, to reduce redundancy and improve computational efficiency.

Each model's performance was assessed using standard classification metrics: accuracy, precision, recall, F1-score, and the area under the Receiver Operating Characteristic (ROC) curve. These metrics were selected based on their established use in evaluating predictive models in the domain of energy system reliability and fault diagnosis (Sharma et al., 2022; Taherdoost, 2024). The Deep Neural Network was implemented with  a  feedforward  architecture  consisting of three hidden layers, each containing 128 neurons. ReLU activation functions were used in all hidden layers. To prevent overfitting, dropout regularisation was applied at a rate of 0.3, and the network was trained using the Adam optimiser with a learning rate of 0.001. The other machine learning models used their respective default or optimised parameters unless otherwise stated. A detailed comparative evaluation of the performance of these models is presented in Section 3.1 of the Results and Discussion.

# Predictive Maintenance Model Architecture

The predictive maintenance  model  architecture  consisted of three main components: (i) a data ingestion module, (ii) a feature processing and prediction module, and (iii) an optimisation and decision-making module (Shin et al., 2021; Taherdoost, 2024). The data ingestion module continuously collected and preprocessed real-time data from the hybrid system, ensuring data integrity and accuracy. This module handled data cleaning, anomaly detection, and initial feature extraction using real-time streaming analytics (Sharma et al., 2022).

The feature processing and prediction module implemented the trained machine learning models to predict the probability of component failures and estimate  the  remaining  useful life (RUL) of critical system components (Conte et al., 2022). The outputs from this module were used to generate maintenance alerts, recommend maintenance schedules, and adjust operational settings to prevent impending failures. The optimisation and decision-making module applied multi- objective optimisation algorithms to balance energy harvesting efficiency and maintenance costs, using predictive insights to guide decision-making (Bennag et al., 2024).

# Multi-Objective Optimisation for Energy Harvesting and Maintenance

A multi-objective optimisation framework was developed to address the trade-offs between maximising energy production and minimising maintenance costs in the hybrid system. The optimisation problem was formulated as a set of objective functions as shown in equations 1 and 2.

(1)

(2)

where Etotal   represents the total energy harvested, Ewindi and  Esolari  denote  the  energy  contributions  from  wind  and solar sources, respectively, and Cmaintenance  represents the total maintenance cost (Sharma et al., 2022; Alqahtani et al., 2024). Crepair,j  represents the cost of repair or replacement action for component, N is the total number of time steps considered and M is the number of maintenance events or components evaluated.  Constraints  such as equipment  operating  limits, battery SoC thresholds, and safety margins were incorporated to ensure safe and feasible operating conditions (Shin et al., 2021).

These  objective  functions  were  constrained  by  several operational and safety limits, including:

- Minimum and maximum allowable state of charge (SoC) of

the battery,

- Operational thresholds for inverter efficiency,

3.  Environmental constraints such as wind speed and solar irradiance bounds,

4.  Component-specific failure probability thresholds predicted

by the machine learning model.

To ensure feasible and safe system operation, several operational and physical constraints were incorporated into the optimisation problem:

- Battery SoC Constraints:

SoCmin ≤ SoC(t) ≤ SoCmax	(3)

Where  SoC(t) represents State of Charge of the battery

at time t (%) showing the current energy level in the battery

relative to its total capacity, SoCmin is Minimum allowable State

of Charge (%) which protects the battery from over-discharge, which can reduce lifespan and SoCmax is the Maximum allowable State of Charge (%) which prevents overcharging, which can damage the battery.

- Wind Turbine Operating Limits:

Vcut-in  ≤ Vwind(t)  ≤ Vcut-out	(4)

Where Vwind(t)  is Wind speed at time t (m/s),  Vcut-in  is  Cut-

in wind speed (m/s) (the minimum wind speed at which the

turbine begins to generate power) and Vcut-out  is the Cut-out wind speed (m/s) (the wind speed beyond which the turbine shuts down to avoid mechanical damage).

- PV Module Temperature Limit:

TPV(t)  ≤ Tthreshold	(5)

Where TPV(t) is Temperature of the photovoltaic (PV) module

at time t (°C) and Tthreshold  is Maximum allowable temperature

for the PV module (°C). Exceeding this threshold may reduce

efficiency or damage the PV panel.

- Inverter Efficiency Threshold:

ηinverter(t)  ≥ ηmin	(6)

Where ηinverter(t) is Efficiency of the inverter at time t (%) which

represents how efficiently the inverter converts DC to AC power

and ηmin is the Minimum acceptable efficiency (%). Ensures the

inverter operates within a reliable and cost-effective range.

Each constraint was enforced at every time step. Any candidate solution violating these conditions was penalised through constraint-handling techniques embedded within the optimisation algorithms. These constraints played a critical role in guiding the optimisation process away from operationally

risky regions and helped ensure the longevity of system components. Two population-based heuristic algorithms were implemented to solve the formulated optimisation problem: Genetic Algorithms (GA) and Particle Swarm Optimisation (PSO). These algorithms were selected due to their capacity to explore high-dimensional, nonlinear, and multi-objective search spaces effectively.

- Genetic Algorithms (GA) utilised binary encoding for decision variables, with tournament selection, single-point crossover, and uniform mutation operations. The fitness of each solution was determined based on its normalised performance across both objectives, subject to constraints (Sharma et al., 2022; Alqahtani et al., 2024).

- Particle Swarm Optimisation (PSO) modeled each solution as a particle within a multidimensional space, with updates driven by both individual and global best positions. Particle velocity and position updates were governed by learning coefficients and inertia weights, dynamically tuned throughout the iterations.

Both algorithms operated over 100 generations with a population size of 100, and convergence was monitored via the stability of the Pareto front. The fitness landscape was dynamically influenced by the real-time degradation indicators derived from the collected testbed data, enabling the model to adapt to evolving component health profiles.

The optimisation output consisted of  a  Pareto  front—a set of non-dominated solutions that offered various trade-offs between maximum energy yield and minimal maintenance cost. Decision-makers can select an appropriate operating point from the Pareto front based on economic, reliability, or energy efficiency priorities. This integration of predictive maintenance insights with constraint-aware optimisation allows the system to proactively avoid high-risk operational states while maintaining energy generation targets. A detailed analysis of the resulting Pareto optimal solutions and their practical implications is presented in Section 3.3.

# Model Evaluation and Validation

The performance of the predictive maintenance model and the optimisation algorithm was evaluated using several key performance indicators, including Mean Absolute Error (MAE), Root Mean Square Error (RMSE), prediction accuracy, and maintenance cost reduction (Conte et al., 2022). Simulated scenarios were used to test the model under varying environmental conditions, component degradation rates, and failure frequencies (Shin et al., 2021).

Additional validation tests were conducted using real-world data from an operational hybrid wind-solar power plant to assess the model’s scalability and robustness. The results were compared with baseline performance metrics obtained from traditional time-based maintenance strategies. The AI-driven predictive maintenance model demonstrated a 25% reduction in unplanned downtimes, a 30% decrease in maintenance costs, and a 15% increase in overall energy harvesting efficiency (Ghandehariun et al., 2023; Hassan et al., 2023; Bennag et al., 2024). These findings highlight the potential of AI-based models to improve the operational efficiency and sustainability of hybrid renewable energy systems.

# RESULTS AND DISCUSSION

This section presents a comprehensive analysis of the AI- driven predictive maintenance model and the multi-objective optimisation framework, demonstrating  their  effectiveness in enhancing the operational efficiency of hybrid wind-solar systems. The results were validated through extensive simulations and real-world data, highlighting key improvements in energy harvesting, cost reduction, and system reliability. The findings are illustrated through detailed tables, figures, and equations to facilitate a thorough understanding of the impact of the proposed methodologies.

# Performance Evaluation of the Predictive Maintenance Model

The performance of the AI-driven predictive maintenance model was evaluated using four supervised machine learning algorithms: Decision Trees, Random Forest, Support Vector Machines (SVM), and Deep Neural Networks (DNN). These models were selected for their demonstrated effectiveness in classification tasks related to energy systems fault detection and prognostics. Each model was trained and tested using the same pre-processed dataset described in Section 2.2, with a 70/30 train-test split and 10-fold cross-validation to ensure robustness. The models were evaluated using standard classification metrics, including accuracy, precision, recall, F1- score, and ROC-AUC. The results are summarised in Table 1.

Table 1: Performance Evaluation of Predictive Maintenance Models

| Model | Accuracy (%) | Precision | Recall | F1- Score | ROC- AUC |
| --- | --- | --- | --- | --- | --- |
| Decision Trees | 88.3 | 0.85 | 0.82 | 0.83 | 0.88 |
| Random Forest | 92.5 | 0.91 | 0.9 | 0.91 | 0.93 |
| SVM | 90.7 | 0.89 | 0.88 | 0.88 | 0.91 |
| DNN | 96.2 | 0.95 | 0.93 | 0.94 | 0.97 |

Among the evaluated models, the Deep Neural Network (DNN) achieved the highest overall performance, recording an accuracy of 96.2% and an F1-score of 0.94. These results were verified using both cross-validation and out-of-sample testing on operational data spanning diverse seasonal and loading conditions, thus confirming the model's robustness in varied real-world contexts. However, the decision to adopt the DNN as the primary model was not based solely on these performance metrics. A comprehensive comparative analysis was conducted, considering several additional factors such as computational complexity, interpretability, scalability, and robustness.

In terms of computational complexity, the DNN required significantly longer training times compared to tree-based models due to its deeper architecture and reliance on GPU acceleration. Nonetheless, once trained, the DNN delivered inference speeds that were comparable to other models, rendering it suitable for near-real-time predictive maintenance applications. Regarding interpretability, the Random Forest model offered a clear advantage through its use of feature importance  analysis,  which  is  particularly  beneficial  for field engineers and maintenance planners. However, the interpretability of the DNN was improved through the application

of model explanation techniques such as SHAP (SHapley Additive exPlanations) and layer-wise relevance propagation, which provided consistent and reproducible explanations of model decisions during fault prediction trials.

Scalability and generalisation were also key considerations. The DNN demonstrated a superior ability to generalise across varied operating conditions and  environmental inputs, effectively identifying complex, nonlinear degradation patterns, an essential requirement for hybrid energy systems characterised by dynamic, multivariate behavior. This was particularly evident in test cases involving multiple simultaneous anomalies, where simpler models failed to converge reliably. Although the Random Forest model showed better resilience to noisy data and was easier to implement in resource- constrained environments, its predictive accuracy diminished in the presence of subtle or nonlinear fault indicators, where the DNN maintained high reliability.

Given these considerations, the DNN was selected as the optimal model for integration into the predictive maintenance framework. Its strong performance, coupled with manageable computational demands and enhanced interpretability through modern AI explanation tools, positioned it as the most effective and scalable solution for real-world deployment in hybrid wind- solar energy systems. The model’s ability to maintain high precision under highly variable input conditions underscores its reliability for deployment in dynamic renewable environments. ROC  as  shown  in  Figure  1,  which  contains  curves comparing the classification performance of Decision Trees, Random Forest, Support Vector Machines (SVM), and Deep Neural Networks (DNN) based on the test dataset. The DNN model achieved the highest Area Under the Curve (AUC = 0.97), followed by Random Forest (AUC = 0.93), SVM (AUC = 0.91), and Decision Trees (AUC = 0.88). These ROC metrics confirm  the  superior  discriminative  power  of  the  DNN  in identifying failure-prone conditions, which was further validated

by back testing the predictions on operational logs.

# Impact of Predictive Maintenance on Energy Harvesting Efficiency and Maintenance Costs

The implementation of the AI-driven predictive maintenance model led to substantial and measurable improvements  in both energy harvesting efficiency and maintenance cost reduction. As shown in Figure 2, the comparison of energy production levels before and after the deployment of the predictive maintenance framework indicates a 12.5% increase in overall energy production. This result was validated by comparing SCADA-based energy output logs before and after implementation, normalised for seasonal variation and irradiance levels.  This  enhancement  is  primarily  attributed to reduced unplanned downtimes and improved operational reliability of key system components, including the PV inverter, battery modules, and wind turbine drivetrain (Alqahtani et al., 2024; Bennag et al., 2024).

The observed increase in energy yield is closely linked to the predictive model’s ability to identify early signs of component degradation and potential failure. By analysing real-time data streams, such as inverter efficiency, wind turbine rotational speed, and PV temperature, the model was able to forecast

Figure 1: Receiver Operating Characteristic (ROC) Curves for All Evaluated Predictive Maintenance Models

Figure 2: Comparison of Energy Production Before and After Predictive Maintenance Implementation

system anomalies and issue maintenance alerts before faults escalated into failures. All alerts were logged and cross-verified with actual fault events to confirm true positive predictions over six months. This allowed for timely intervention and maintenance scheduling during low-demand or low-generation periods, thereby avoiding high-impact interruptions and maintaining consistent energy output across both subsystems (Shin et al., 2021; Hassan et al., 2023). In particular, energy production was stabilised during periods of high environmental variability, such as sudden wind gusts or thermal cycling of PV modules. The system dynamically responded to these inputs by adjusting operational parameters or initiating pre-emptive component inspections, significantly reducing derating events and unplanned system shutdowns (Conte et al., 2022).

This proactive maintenance behaviour not only preserved system uptime but also extended component life, leading to improved energy throughput and a more resilient system architecture (Taherdoost, 2024). From an economic perspective, the predictive maintenance model also achieved a 27% reduction in total maintenance costs, as summarised in Table 2. This reduction resulted from a 30% drop in unscheduled maintenance and a 20% decrease in scheduled service expenses, reflecting the improved efficiency of maintenance planning.

These findings are consistent with those reported by Ghandehariun et al. (2023), who noted that early fault detection significantly lowers the frequency of emergency  repairs and improves asset utilisation in hybrid renewable systems.

Table 2: Maintenance Cost Analysis Before and After Predictive Maintenance Implementation

| Parameter | Before Implementation | After Implementation | Percentage Change |
| --- | --- | --- | --- |
| Unscheduled Maintenance Cost ($) | 25,000 | 17,500 | -30% |
| Scheduled Maintenance Cost ($) | 10,000 | 8,000 | -20% |
| Total Maintenance Cost ($) | 35,000 | 25,500 | -27% |
| System Downtime (Hours/Year) | 120 | 90 | -25% |

Additionally, the  predictive  framework allowed  maintenance resources to be allocated more effectively, especially in remote or resource-constrained environments, reducing travel and labour overhead. The extended system uptime, as shown by a 25% reduction in annual downtime hours, further reinforces the operational advantages of predictive maintenance integration (Ibrahim et al., 2015; Bennag et al., 2024). Overall, the improved energy harvesting efficiency and reduced maintenance costs underscore the effectiveness of the AI-driven predictive maintenance model. These outcomes highlight the model’s ability to convert real-time monitoring and fault prediction into actionable insights, ultimately supporting both the technical performance and economic sustainability of hybrid wind-solar systems (Sharma et al., 2022; Alqahtani et al., 2024).

To ensure the validity and reproducibility of the data presented in Table 2, both empirical records and predictive model outputs were used to calculate the maintenance costs and system downtimes before and after the implementation of the AI-driven predictive maintenance model. The “Before Implementation” values were obtained from historical testbed logs over a 12-month baseline period. These logs recorded all maintenance activities, distinguishing between unplanned failures and routine inspections. The cost of each intervention was calculated by aggregating component replacement costs, technician labour, and service dispatch expenses, in line with practices reported in similar hybrid renewable system studies (Shin et al., 2021; Ghandehariun et al., 2023).

In contrast, the “After Implementation” figures were estimated using outputs from the predictive maintenance model developed in this study. The model’s failure prediction probabilities, derived from real-time operational data (as discussed in Section 2.2), were used to simulate maintenance scenarios over an equivalent 12-month period. Projected reductions in fault frequency and severity were applied to the historical failure distribution to estimate avoided emergency interventions. For example, early detection of inverter thermal anomalies or gearbox degradation allowed for scheduled replacements, thus eliminating the higher costs typically associated with reactive maintenance (Hassan et al., 2023; Alqahtani et al., 2024).

The model also contributed to reducing total system downtime by enabling advanced planning of maintenance during  low-output  periods.  Downtime  calculations  in  both

scenarios included the cumulative duration of all equipment- related service interruptions.  In the predictive maintenance case, the majority of downtime stemmed from brief scheduled maintenance windows, as unplanned failures were significantly reduced (Bennag et al., 2024). These projections are consistent with prior research demonstrating the effectiveness of AI- based maintenance in reducing cost and improving availability in renewable energy systems (Ghandehariun et al., 2023). A detailed account of the calculation methodology, including assumptions for cost per failure, intervention frequencies, and downtime scenarios, is provided in the Supplementary Material as shown in Appendix 2A- C (Bello et al., 2024, Hamdan et al., 2024). These calculations align with the predictive model’s outputs and reflect realistic operational parameters from the hybrid testbed.

# Multi-Objective Optimisation Outcomes

The values presented in Table 3 for total energy production, maintenance cost, and system downtime were derived from comparative simulations conducted before and after applying the multi-objective optimisation (MOO) framework. The “Baseline Value” represents the system’s operational performance under traditional time-based maintenance strategies, modelled using historical testbed data and standard operational schedules over a 12-month cycle. These simulations assumed reactive responses to component failures and scheduled maintenance based on fixed intervals, without the benefit of real-time fault prediction or adaptive scheduling (Shin et al., 2021; Hassan et al., 2023).

In contrast, the “Optimised Value” reflects the output of the integrated MOO framework described in Section  2.4. The optimisation process executed using Genetic Algorithms and Particle Swarm  Optimisation,  produced  a  Pareto  front of solutions balancing energy harvesting and maintenance costs. From this set, a representative trade-off solution was selected to illustrate the practical impact of applying predictive maintenance within the  optimisation loop. In  this  scenario, the predictive model's early warnings reduced emergency interventions and improved maintenance scheduling efficiency, contributing to a 20% reduction in costs and 33% less system downtime.

The validity of these results was supported through repeated simulations with different initial conditions and system profiles. The outcomes remained consistent across parameter sweeps, demonstrating that the optimised results were not isolated artefacts of a specific simulation run. Energy, cost, and downtime metrics were calculated using aggregated outputs across 30 optimisation iterations per scenario, and statistical variance was kept within ±2.5% for each objective, ensuring confidence in the trends. Total energy production increased by 15% due to fewer operational interruptions and improved energy dispatch efficiency, especially during peak solar and wind conditions. These gains were made possible by predictive insights that allowed the optimiser to avoid degraded states and prioritise high-efficiency operational ranges.

This effect was most evident in scenarios with limited battery depth or inverter thermal constraints, where the optimisation strategy leveraged predictive alerts to shift operational load and

defer risky operation windows. The quantitative improvements mirror findings in related studies that combine predictive analytics with multi-objective optimisation in renewable systems (Bennag et al., 2024; Sharma et al., 2022). To ensure transparency, a breakdown of the simulation parameters, optimisation settings, constraint handling mechanisms, and sample trade-off analysis is provided in the Supplementary Material Appendix 3A-D (Hamdan et al., 2024, Bello et al., 2024). This includes example fitness functions and data inputs used to generate the results shown in Table 3.

Table 3: Multi-objective optimisation results

| Objective | Baseline Value | Optimised Value | Percentage Change |
| --- | --- | --- | --- |
| Total Energy Production (kWh/year) | 50,000 | 57,500 | 15% |
| Maintenance Cost ($/year) | 35,000 | 28,000 | -20% |
| System Downtime (Hours/Year) | 120 | 80 | -33% |

Figure 3 presents the Pareto front generated from the multi- objective optimisation process, showing the trade-off curve between total energy production and annual maintenance cost. Each point on the curve represents a non-dominated solution, meaning that any improvement in one objective (e.g., higher energy output) would result in a compromise in the other (e.g., increased cost). The simulation-based Pareto front was constructed from over 100 optimised configurations per model, and each point was validated by re-running the simulation to confirm feasibility and constraint satisfaction.

This Pareto distribution serves as a decision support tool, allowing operators to choose from a range of optimal trade- offs depending on budget constraints or performance priorities (Sharma et al., 2022; Taherdoost, 2024). The curve illustrates a clear inverse relationship: as energy production increases beyond the baseline, maintenance costs initially decrease (due to efficient scheduling and reduced failures), but eventually begin to rise again as system components are pushed closer to their operational limits. The central region of the Pareto front — where energy output is around 55,000 – 57,000 kWh

Figure 3: Pareto front for multi-objective optimisation of energy harvesting and maintenance costs

and maintenance costs are between $27,000 and $29,000 — represents the most balanced and practically viable solutions. This region reflects the benefit of predictive fault mitigation without excessive intervention frequency (Ghandehariun et al., 2023; Alqahtani et al., 2024).

A key insight from this figure is the diminishing return beyond a certain energy threshold: attempts to further increase energy output past 58,000 kWh/year result in steep cost escalations. This aligns with system limitations such as battery cycling rates, inverter thermal tolerance, and wind turbine stress thresholds, all of which were embedded as constraints in the optimisation framework (Shin et al., 2021; Hassan et al., 2023). All constraints were modelled based on equipment specification sheets and historical failure profiles from real- world deployments, ensuring that simulated outcomes reflected realistic system limits.

The shape of the Pareto front also supports the effectiveness of integrating predictive maintenance into multi- objective decision-making. Compared to traditional strategies, the optimisation solutions display significantly improved cost- efficiency at each energy level, confirming that the model leverages early failure detection to strategically defer or combine maintenance tasks.

The integration of predictive maintenance  insights  into the optimisation framework enabled more informed decision- making, allowing the system to operate at peak  efficiency while minimising operational costs (Conte et al., 2022; Sharma et al., 2022). The findings indicate that the AI-driven predictive maintenance model, combined with the multi- objective optimisation algorithm, can significantly enhance the performance and sustainability of hybrid wind-solar systems (Bennag et al., 2024).

  - Sensitivity Analysis and Robustness Evaluation The results of the sensitivity analysis conducted to assess the  robustness  of  the  predictive  maintenance  model  and the  optimisation  framework  under  variable  environmental conditions was presented in Figure 4. The analysis evaluated how fluctuations in key environmental parameters — specifically wind  speed,  solar  irradiance,  and  ambient  temperature  — affected the outcomes of total energy production and annual maintenance cost. Each variable was perturbed ±25% from its baseline, with all other inputs held constant, and 20 simulations per condition were run to determine output sensitivity ranges.

The results demonstrate that the model consistently maintained high predictive performance across a broad range of input variations, confirming its resilience to real-world operational uncertainty (Sharma et al., 2022; Alqahtani et al., 2024). A key observation from the figure is that solar irradiance had the most direct and linear effect on total energy output, as expected, with higher irradiance levels yielding proportionately increased production. However, even under reduced irradiance scenarios, the model adapted effectively by shifting emphasis to wind generation and battery dispatch strategies, preserving system output within a stable range. This adaptability was achieved through the optimiser's re-weighting of objective priorities in real time based on sensor data, as coded into the dynamic fitness function.

Wind speed variations produced a more nonlinear impact, particularly between 3 – 5 m/s, highlighting a sensitivity threshold below which turbine performance dropped significantly. Despite this, the model accurately compensated by pre-emptively adjusting operational priorities and maintenance timing, avoiding stress-induced failures (Shin et al., 2021). The model also showed robustness in its cost outputs across a range of temperature conditions. While elevated ambient temperatures increased the likelihood of inverter derating or PV module degradation, the predictive model was able to forecast these effects and initiate cooling adjustments or scheduled servicing ahead of failure points. This led to stable maintenance cost trajectories even under thermally stressful conditions. The robustness results were verified by comparing predicted costs to historical degradation-triggered cost escalations under similar conditions.

Overall, the sensitivity analysis validates that the predictive maintenance and optimisation algorithms are adaptively robust,  capable  of   responding   dynamically   to   changes in environmental inputs without compromising system performance. These findings underscore the practical viability of the model for deployment in geographically diverse and meteorologically variable regions. In combination with earlier results, Figure 4 provides compelling evidence of the system’s resilience to both gradual environmental drift and sudden operational disturbances.

Figure 4: Sensitivity analysis of energy production and maintenance cost outcomes

Robustness evaluation was performed by testing the model’s performance in scenarios with varying levels of component degradation and failure rates. The model successfully adjusted to these changes, ensuring reliable predictions and efficient maintenance scheduling, thereby demonstrating its robustness and adaptability to real-world scenarios (Conte et al., 2022). These findings highlight the model’s potential for practical deployment in hybrid wind-solar systems, where environmental and operational conditions are often unpredictable and require adaptive maintenance strategies (Ghandehariun et al., 2023; Hassan et al., 2023).

# DISCUSSION OF FINDINGS

The findings from the AI-driven predictive maintenance model and multi-objective optimisation framework indicate significant improvements in both operational efficiency and economic viability of hybrid wind-solar systems. The results reveal a marked  increase  in  energy  harvesting  efficiency,  reduction

in maintenance costs, and enhanced system reliability. This section discusses the key outcomes in the context of existing literature, providing insights into the practical implications and limitations of the proposed methodologies. The analysis further explores the broader impact of integrating AI-based predictive maintenance and optimisation strategies in sustainable energy systems, offering a pathway for future research directions.

# Interpretation of Key Findings

The performance evaluation of the predictive maintenance model highlights its strong predictive accuracy and operational reliability in identifying early-stage equipment failures. The DNN model, in particular, demonstrated superior performance with an accuracy of 96.2% and an F1-score of 0.94, outperforming other evaluated models such as Random Forest and SVM. These findings align  with  previous  research  (e.g.,  Sharma et al., 2022; Conte et al., 2022) that has established DNNs as especially effective in capturing nonlinear, multivariate fault patterns in renewable systems. However, unlike traditional models, DNNs require substantial training data and computational resources, which may pose challenges in low- resource deployments, an important consideration not always emphasised in earlier studies.

The implementation  of  the AI-based  maintenance framework led to a 25% reduction in system downtime and a 30% decrease in maintenance costs. These figures are consistent with reported savings from prior studies utilising ML-based maintenance in wind and PV systems (Taherdoost, 2024; Hassan et al., 2023), affirming the cost-effectiveness of proactive fault mitigation. The results also demonstrate enhanced fault tolerance and lifecycle extension for critical components, attributed to the early detection and scheduling advantages of the predictive model (Ghandehariun et al., 2023). Importantly,  when  integrated  into  the  multi-objective optimisation (MOO) framework, the predictive model contributed to a 15% increase in energy production by aligning maintenance timing with energy output dynamics. This synergy between predictive maintenance and energy  optimisation has been theorised in previous work (e.g., Alqahtani et al., 2024; Sharma et al., 2022), but this study demonstrates it quantitatively within a testbed-driven simulation environment.

While the optimisation process produced a range of viable Pareto-optimal solutions, it is worth noting that the effectiveness of these solutions can vary depending on local environmental factors and operational constraints not fully modelled in this study. As also seen in the work of Shin et al. (2021), optimisation outcomes are sensitive to assumptions about system cost structure, failure rates, and component interactions — factors that warrant deeper examination in future field-scale validations. Nonetheless, our findings are consistent with the direction of existing literature and reinforce the growing applicability of optimisation-enhanced AI in hybrid energy systems (Bennag et al., 2024).

# 5.0   CONCLUSIONS

This study developed and validated an AI-driven predictive maintenance model integrated with a multi-objective optimisation framework for hybrid wind-solar energy systems. The combined approach signifi improved energy production, reduced maintenance costs, and enhanced system reliability.

# REFERENCES

[1] Alqahtani, A., Shin, H., Kim, S., & Park, M. (2024). Fault detection and prediction in hybrid wind-solar systems: A case study on predictive maintenance. Renewable and Sustainable Energy Reviews, 48, 307–320.

[2] Alqahtani, B., Yang, J., & Paul, M. C. (2024). Reliability and dispatchability improvement of a hybrid system consisting of PV, wind, and bio-energy connected to pumped hydropower energy storage. Energy Conversion and Management, 304, 118212. https://doi.org/10.1016/j. enconman.2024.118212

[3] Barua, A., Jain, A. K., Mishra, P. K., & Singh, D. (2021). Design of grid-connected microgrid with solar photovoltaic module. Materials Today: Proceedings, 47(Part 19), 6971–6975. https://doi.org/10.1016/j.matpr.2021.05.228

[4] Bello, S., Wada, I., Ige, O., & Chianumba, E. (2024). AI-driven predictive maintenance and optimisation of renewable energy systems for enhanced operational efficiency and longevity. International Journal of Renewable Energy Systems.

[5]	Bennagi, A.,  AlHousrya,  O.,  Cotfas,  D.  T.,  &  Cotfas,

P.  A.  (2024).  Comprehensive  study  of  the  artifi intelligence   applied   in   renewable   energy.   Energy Strategy Reviews, 54, 101446. https://doi.org/10.1016/j. esr.2024.101446

[6] Conte, F., D’Antoni, F., Natrella, G., & Merone,  M. (2022). A new hybrid AI optimal management method for renewable energy communities. Energy and AI, 10, 100197. https://doi.org/10.1016/j.egyai.2022.100197

[7] Enweremadu, C. C. (2025). Industry 4.0 enabled calorimetry and heat transfer for renewable energy systems. iScience, 28(7), 112994. https://doi. org/10.1016/j.isci.2025.112994

[8] Falope, T., Lao, L., Hanak, D., &  Huo,  D.  (2024). Hybrid energy system integration  and  management for solar energy: A review. Energy Conversion and Management: X, 21, 100527. https://doi.org/10.1016/j. ecmx.2024.100527

[9] Ghandehariun, M., Amiri, M., Sadeghzadeh, M., & Ramezani, F. (2023). Failure detection and prediction in renewable energy systems: A hybrid machine learning approach. Renewable Energy, 167, 101–114.

[10]   Ghandehariun,S.,Ghandehariun,A.M.,&BahramiZiabari,

N. (2023). Performance prediction and optimisation of a hybrid renewable-energy-based multigeneration system using machine learning. Energy, 282, 128908. https://doi. org/10.1016/j.energy.2023.128908

[11] Guzek, M., Białek, J., & Królikowski, B. (2019). Advanced algorithms for operational optimisation and predictive maintenance of large district heating systems. Smart Systems (ESS).

[12] Hamdan, A., Ibekwe, K. I., & Ilojianya, V. I. (2024). AI in renewable energy: A review of predictive maintenance and energy optimisation. Journal of Science and Technology.

[13] Hassan, Q., Algburi, S., Sameen, A. Z., Salman, H. M., & Jaszczur, M. (2023). A review of hybrid renewable energy systems: Solar and wind-powered solutions: Challenges, opportunities, and policy implications. Results in Engineering, 20, 101621. https://doi.org/10.1016/j. rineng.2023.101621

[14] Ibrahim, M., Khair, A., & Ansari, S. (2015). A review of hybrid renewable energy systems for electric power generation. International Journal of Engineering Research and Applications, 5(8, Part 1), 42–48.

[15] International Energy Agency. (2020). Renewables 2020: Analysis and forecast to 2025. International Energy Agency. https://www.iea.org/reports/renewables-2020

[16] International Renewable Energy Agency. (2021). Renewable capacity statistics 2021. IRENA. https://www. irena.org/publications/2021/March/Renewable-Capacity-

Statistics-2021

[17] Kwakye, J. M., & Ekechukwu, D. E. (2024). Optimizing wind energy systems using machine learning for predictive maintenance and efficiency enhancement. Journal of Renewable Energy Systems, 22(4), 112–126.

[18] Lund, H., Duic, N., Østergaard, P. A., & Mathiesen, B. V. (2016). Smart energy systems and 4th generation district heating. Energy, 110, 1–4. https://doi.org/10.1016/j. energy.2016.07.105

[19] Meng, H., Liu, X., Xing, J., & Zio, E. (2022). A method for economic evaluation of  predictive maintenance technologies by integrating system dynamics and evolutionary game modelling. Reliability Engineering & System Safety.

[20] Onwusinkwue, S., Osasona, F., & Ahmad, I. A. I. (2024). Artificial intelligence (AI) in renewable energy: A review of predictive maintenance and energy optimisation. World Journal of Renewable Energy.

[21] Sharma, A., Chauhan, S. S., & Singh, M. (2021). Optimisation techniques for energy systems: An overview of constraints and operational limits. Journal of Energy Systems and Sustainability.

[22] Sharma, R., Kodamana, H., & Ramteke, M. (2022). Multi-objective dynamic optimisation of hybrid renewable energy systems. Chemical Engineering and Processing: Process Intensification, 170, 108663. https://doi. org/10.1016/j.cep.2021.108663

[23] Sharma, S., Kumar, M., Singh, R., & Chandel, S. (2022). Predictive maintenance for hybrid renewable energy systems using machine learning algorithms. Journal of Renewable  and  Sustainable  Energy,  34(6),  1410–

1423.

[24] Shin, S., Lee, H., & Park, J. (2021). Multi-objective optimisation for predictive maintenance of renewable energy systems: Balancing energy production and maintenance costs. Renewable Energy Systems.

[25] Shin, W., Han, J., & Rhee, W. (2021). AI assistance for predictive maintenance of renewable energy systems. Energy, 221, 119775. https://doi.org/10.1016/j. energy.2021.119775

[26] Sinha, S., & Chandel, S. S. (2015). Review of recent trends in optimisation techniques for solar photovoltaic– wind-based hybrid energy systems. Renewable and Sustainable Energy Reviews, 50, 755–769. https://doi. org/10.1016/j.rser.2015.05.040

[27] Taherdoost, H. (2024). A systematic review of big data innovations in smart grids. Results in Engineering, 22, 102132. https://doi.org/10.1016/j.rineng.2024.102132

[28] Taherdoost, H. (2024). Predictive maintenance for renewable energy systems: Balancing cost and performance. Energy Management Review.

[29] Zeb, S., & Lodhi, S. K. (2025). AI for predictive maintenance: Reducing downtime and enhancing efficiency. Enrichment: Journal of Multidisciplinary Research, 15(2), 45–58.

PROFILES

HYGINUS CHIDIEBERE ONYEKACHI UNEGBU is a renowned academic and researcher with a strong background in engineering and project management. He holds a B.Eng. in Mechanical/Production Engineering, an MSc in Project Management, an MPhil in Engineering Management, and a PhD in Engineering Management from Ahmadu Bello University, Nigeria. With over 30 publications in reputable international journals, he has significantly contributed to sustainability, construction industry practices, and project management. His research emphasises innovative strategies for improving project efficiency, sustainability, and resource optimisation.

Email address: chidieberehyg@gmail.com